{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":38,"n_cols":6,"rows_kept":38,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXF-B"]
[]
[]
[]
[]
["","","","","FTXF20B5V1B","FTXF25B5V1B"]
["Sound pressure level","Heating","High","ديسيبل أمبير","39","40"]
["","","متوسط","ديسيبل أمبير","34","34"]
["","","Silent operation","ديسيبل أمبير","21","21"]
["","","Low","ديسيبل أمبير","28","28"]
["","Cooling","متوسط","ديسيبل أمبير","33","33"]
["","","Silent operation","ديسيبل أمبير","20","20"]
["","","Low","ديسيبل أمبير","25","26"]
["","","High","ديسيبل أمبير","39","40"]
["Standard Accessories","دليل التركيب","","","1","1"]
["","دليل التشغيل","","","1","1"]
["","جهاز تحكم عن بعد بالأشعة تحت الحمراء","","","1","1"]
["","بطاريات جافة قياس AAA","","","2","2"]
["","حامل جهاز التحكم عن بعد","","","1","1"]
["","لوح التثبيت","","","1","1"]
["","مسامير لولبية لتثبيت الوحدة الداخلية","","","2","2"]
["أنظمة التحكم","جهاز تحكم عن بُعد سلكي","","","BRC944B2, BRC073A1","BRC944B2, BRC073A1"]
["","Infrared remote control","","","ARC470A1","ARC470A1"]
["Piping connections","Liquid","القطر الخارجي","mm","6.35","6.35"]
["","غاز","القطر الخارجي","mm","9.50","9.50"]
["","Drain","","","18","18"]
["Power input","Cooling","Nom.","kW","0.017","0.019"]
["","Heating","Nom.","kW","0.020","0.020"]
["Sound power level","التبريد","","ديسيبل أمبير","55","55"]
["","التدفئة","","ديسيبل أمبير","55","55"]
["Dimensions","Unit","العرض","mm","770","770"]
["","","العمق","mm","225","225"]
["","","الارتفاع","mm","286","286"]
["الغلاف","Colour","","","White","White"]
["الوزن","الوحدة","","كغ","8.50","8.50"]
["Power supply","Phase","","","1~","1~"]
["","Frequency","","هرتز","50","50"]
["","Voltage","","V","220-240","220-240"]