{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":15,"n_cols":8,"rows_kept":15,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","SERHQ-AAW1"]
[]
[]
[]
[]
["","","","","SERHQ020AAW1","SERHQ032AAW1","SERHQ020AAW1+SERHQ020AAW1 (Archived)","SERHQ032AAW1+SERHQ032AAW1 (Archived)"]
["Dimensions","Unit","Width","mm","930"]
["","","Depth","mm","765"]
["","","Height","mm","1,680"]
["Weight","Unit","","kg","240.00"]
["Notes","","","","(1) - 230V","(1) - 230V","(1) - 230V","(1) - 230V"]
["Dimensions","Unit","Height","mm","","1680","1680","1680"]
["","","Width","mm","","1240","930","1240"]
["","","Depth","mm","","765","765","765"]
["Weight","Unit","","kg","","316.00","240","316"]